## Slide 1: Designing RF antennas with Ansys HFSS
Huan Q. Bui
ZGS July 7, 2023

## Slide 2: Why RF antennas?
RF evaporation
Spin manipulation
Tune molecular interactions (promised ZGS?)
Make/break molecules
Schindewolf, Andreas, et al. Nature 607.7920 (2022): 677-681.
Cheng-Hsun, W., et al., Phys. Rev. Lett 109 (2012): 085301.

## Slide 3: RF antennas in nature

## Slide 4: RF antennas in the lab (Fermi1)
F1 outer antenna
for Na RF Evap
PC: Alex
CHW thesis
for K spin
manipulation

## Slide 5: Antenna design considerations
Type & material
Operating frequency range
Polarization of radiation
Antenna matching (“resonance”)
Tunability
Environmental effects
Cost (time and money)
Want:
  Simulations before prototyping
  Confidence in design
  Understanding of antenna behavior
  Reproducibility
Don’t want:
  Design by trial and error (ineffective)
  Not understanding antenna behavior
  Voo-doo! Not reproducible

## Slide 6: Ansys HFSS
Free*, powerful 3D EM solver
Relatively easy to learn and use:
  Watch tutorials (YT/Ansys classes)
  Build antenna
  Set up solution and solve
  Optimize
Alternatives:
  COMSOL (very not free, IS&T has no license)
  MATLAB (not enough features)

## Slide 7: Modeling a waveguide antenna with Ansys HFSS in 10 steps

## Slide 8: Step 1: Waveguide antenna requirements & dimensions
Operational frequency: 5.640 GHz
Tunable polarization
Direct radiation with high amplitude
Rectangular waveguide antenna
Width: needs lower frequency cutoff of TE01 < 5.64 GHz  a = 33 mm
Length: To be optimized
Feeds: Naively, 2 perpendicular feeds. 13 mm from backwall*, 10 mm tall
Hole in the backwall for the MOT beam
Inspired by Xing-Yan Chen et al, Nature, volume 614, pages 59–63 (2023)

## Slide 9: Step 2: Build the antenna in Ansys HFSS
<<< insert most current design, without the chamber! >>>
Remember to parametrize
Specify material
Feed dimensions: SMA stub connectors
Steel “ring” for the chamber window

## Slide 10: Step 3: Define boundary conditions

## Slide 11: Step 4: Define excitations

## Slide 12: Step 5: Setup solution

## Slide 13: Step 6: Validate and solve

## Slide 14: Step 7: View results

## Slide 15: Step 8: Study

## Slide 16: Step 9: Optimize/Revise

## Slide 17: Step 9: Optimize/Revise
Show results with the quad-feed design here

## Slide 18: Step 10: Finalize

## Slide 19: Summary:

## Slide 20
The end

## Slide 21
Extra notes:
Refer to Guide to Coax to Waveguide paper?
Focus on the counter-intuitive polarization tuning as the reason for doing all of this in Ansys. Emphasize that I did not expect this behavior, and so it was very helpful to have done this in software before trying something in the lab. Would have been very confused.
Emphasize that the total time spend on learning all the basics was only about a weekend of intense YT-watching and following examples, while the rest of the time was spent on trying to understand/optimize, etc.
Say that there are other aspects that I have not had time to go through as well. Waveguide physics is also part of this. In real-world applications people have different designs for waveguide antennas: horns and ridges. These are more complicated and probably not worth our time, but can always try later.
Talk about impedance matching.
Talk about the existence of the optimization feature which I didn’t use this time, but not so hard to set up.