## Slide 1: Designing RF antennas with Ansys HFSS
Huan Q. Bui
ZGS July 7, 2023

## Slide 2: Why RF antennas?
RF evaporation
Spin manipulation
Tune molecular interactions (promised ZGS?)
Make/break molecules
Schindewolf, Andreas, et al. Nature 607.7920 (2022): 677-681.
Cheng-Hsun, W., et al., Phys. Rev. Lett 109 (2012): 085301.

## Slide 3: RF antennas in nature

## Slide 4: RF antennas in the lab (Fermi1)
F1 outer antenna
for Na RF Evap
PC: Alex
CHW thesis
for K spin
manipulation

## Slide 5: Antenna design considerations
Type & material
Operating frequency range
Polarization of radiation
Antenna matching (“resonance”)
Tunability
Environmental effects
Cost (time and money)
Want:
  Simulations before prototyping
  Confidence in design
  Understanding of antenna behavior
  Reproducibility
Don’t want:
  Design by trial and error (ineffective)
  Not understanding antenna behavior
  Voo-doo! Not reproducible

## Slide 6: Ansys HFSS
Free*, powerful 3D EM solver
Relatively easy to learn and use:
  Watch tutorials (YT/Ansys classes)
  Build antenna
  Set up solution and solve
  Optimize
Alternatives:
  COMSOL (very not free, IS&T has no license)
  MATLAB (not enough features)

## Slide 7: Modeling a waveguide antenna with Ansys HFSS in 10 steps

## Slide 8: Step 1: Waveguide antenna requirements & dimensions
Operational frequency: 5.640 GHz
Tunable polarization
Direct radiation with high amplitude
Rectangular waveguide antenna
Width: needs lower frequency cutoff of TE01 < 5.64 GHz  a = 33 mm
Length: To be optimized
Feeds: Naively, 2 perpendicular feeds. 13 mm from backwall*, 10 mm tall
Hole in the backwall for the MOT beam
Inspired by Xing-Yan Chen et al, Nature, volume 614, pages 59–63 (2023)

## Slide 9: Step 2: Build the antenna in Ansys HFSS
<<< insert most current design, without the chamber! >>>
Remember to parametrize
Specify material
Feed dimensions: SMA stub connectors
Steel “ring” for the chamber window

## Slide 10: Step 3: Define boundary conditions

## Slide 11: Step 4: Define excitations

## Slide 12: Step 5: Setup solution

## Slide 13: Step 6: Validate and solve

## Slide 14: Step 7: View results

## Slide 15: Step 8: Study

## Slide 16: Step 9: Optimize/Revise

## Slide 17: Step 10: Finalize

## Slide 18: Summary:

## Slide 19
The end